[image: image1.png]GREEN BUSINESS
PROGRAM



Resource Conservation & 
Pollution Prevention Checklist for

Hotels & Motels

Business      

Contact      


Phone      


Address      


     


Email      


Fax      


Web      


   Common Questions
Why should my business get certified as a Green Business?
· Saving energy, water and raw materials saves you money. Sending less trash to the landfill saves you money, too.

· Developing a positive, proactive relationship with local compliance inspectors can help you avoid liability, fines and other sanctions.

· The Program promotes Green Businesses to the public and other businesses (again, for free)!

· Your company’s community image is enhanced through Green Business certification. 

· Your employees will enjoy a safer workplace and will have one more reason to take pride in working for you.

· The Green Business Program offers you free, convenient, time-saving assistance.

Do I get credit for the good things I’m already doing?
Yes!  In fact, your company may already qualify. These Standards are designed to fit most businesses, but if certain measures are not applicable or feasible for your facility and operations, you may request an exemption or demonstrate alternative measures. 

Do I have to do everything on the checklist to become a Green Business?
No, there are many ways to qualify. You must meet the minimum standards in each category. Beyond that, you may use the checklist to identify “next steps” to becoming even greener.


What if I haven’t had an energy, water or solid waste audit already?

The Green Business Program can arrange an audit for you as part of your certification.

How do I get started?
Read the checklist and check all boxes that apply. Complete and return your checklist by email as an MS Word document. Contact your Green Business Coordinator at  Pamela.evans@acgov.org or 510.567.6770 with questions.

Is there a fee to be certified as a Green Business?
No, Green Business certification is free!

GREEN NOTE: 

Going Green Counters Climate Change

Climate Change results from increases in greenhouse gases, like carbon dioxide and methane, trapping heat that would otherwise escape the atmosphere. You can reduce this build-up (and your carbon footprint) by being green! Our checklist has many climate-friendly measures, such as:

· Conserve energy with fluorescent lights and Energy Star equipment.

· Reduce waste at the landfill (and methane gas emissions)—recycle, compost and buy products with recycled content.

· Conserve water (and the energy to deliver it) with low-flow toilets and drought tolerant plants.

· Invest in renewable energy with renewable energy credits and solar panels.

· Conserve fuel by taking public transit, your bike or a high MPG vehicle.

General Standards for All Businesses


   Certification
To be certified a Green Business you must:

1. Comply with all environmental regulations applicable to your business. Please ask staff about this.

2. Implement a variety of measures to save energy, water and other materials, and reduce waste. This checklist walks you through this step!
3. Allow site visits to verify that your business meets the above two steps.
4. Pledge to continue these terrific efforts to prevent pollution and conserve resources (including environmental compliance).

Green Businesses practicing resource efficiency are assuming stewardship for the Earth and its resources, with the goals of achieving a successful business operation, a healthy bottom line, and sustenance of the environment and its inhabitants. A Green Business not only conserves resources but educates employees and customers about resource conservation.
Re-certification: Certification as a Green Business is good for three years. We strongly encourage continuous improvement. When it’s time to recertify, we will ask you to show us additional measure(s) you have implemented.

   Measures

The following general measures are required for all businesses:

 FORMCHECKBOX 

Track water and energy usage and solid and hazardous waste generation.

 FORMCHECKBOX 

Establish a ‘green team’ that can help guide efforts to green your business.

 FORMCHECKBOX 
   Adopt a written environmentally

       preferable (green) purchasing policy. For a  

       model, contact Pamela.Evans@acgov.org  or 
       find examples at: 

         http://www.stopwaste.org/home/index.asp?page=439
 FORMCHECKBOX 

Provide 3 on-going incentives or training opportunities to encourage management and employee participation in the Green Business Program. For example, incorporate Green Business into:

 FORMCHECKBOX 

Performance appraisals, job descriptions, training programs, employee orientations

 FORMCHECKBOX 

Staff meeting discussions

 FORMCHECKBOX 

Your employee reference materials

 FORMCHECKBOX 

Your company newsletter or bulletins

 FORMCHECKBOX 

Your company suggestion and reward programs

 FORMCHECKBOX 

Other:      



 FORMCHECKBOX 

Inform your customers about your business’ environmental efforts and what you are doing to meet the green business standards. For example:

 FORMCHECKBOX 

Post the Green Business logo, certification and pledge in a visible location.

 FORMCHECKBOX 

Post reminders listing steps you are taking to be a Green Business.

 FORMCHECKBOX 

Offer tours that highlight your Green Business successes.

 FORMCHECKBOX 

Offer customers “green” service or amenities options.

 FORMCHECKBOX 

Highlight your Green Business efforts and/or certification on your website, and link it to the GBP home page.
 FORMCHECKBOX 

Other:      
 FORMCHECKBOX 

Assist at least one other business in learning about becoming a Green Business. Encourage them to enroll in the Green Business Program and provide their contact information to your GBP coordinator.

Solid Waste Reduction & Recycling


   Measures
Note: To get credit for measures in this section, employees and subcontractors must be implementing the measure.

1. Look in your garbage dumpster annually to see if there are items that could instead be reused by someone else or recycled.

2. REDUCE waste in 7 ways.

 FORMCHECKBOX 

REQUIRED:  Eliminate individual bottles of water for employees and guests.   

 FORMCHECKBOX 

REQUIRED:  Eliminate the use of polystyrene, such as Styrofoam, in beverages and food service ware.

 FORMCHECKBOX 

REQUIRED:  If copiers and printers have duplex printing capability, duplex printing must be enabled.  New machines must have duplex printing capability.

 FORMCHECKBOX 

Buy products in returnable or reusable containers. 

 FORMCHECKBOX 

Work with vendors to minimize packaging.

 FORMCHECKBOX 

Require chemical suppliers to take back empty buckets or drums.

 FORMCHECKBOX 

Eliminate inner-pack dividers in shipping containers for miscellaneous supplies.

 FORMCHECKBOX 

Replace in-room plastic cups with glass cups.

 FORMCHECKBOX 

Replace disposable cups in the coffee area with reusable cups.

 FORMCHECKBOX 

Replace wire/plastic hangers with permanent hangers to lower theft and replacement costs.

 FORMCHECKBOX 

Use bulk-dispensed shampoo and other amenities in guest rooms.

 FORMCHECKBOX 

Set up amenity programs so that rarely used items are supplied only upon request.

 FORMCHECKBOX 

Donate half-used amenity bottles to local shelters, nursing homes, or halfway houses.

 FORMCHECKBOX 

Require corrugated cardboard boxes instead of waxed cardboard for produce unless you are composting food waste off-site. Waxed cardboard can be composted with food waste.

 FORMCHECKBOX 

Buy ingredients (e.g., flour, salt) in bulk, packaged in unlined kraft paper bags, which can be recycled with food waste. 

 FORMCHECKBOX 

Buy eggs shelled in bulk. 

 FORMCHECKBOX 

Replace individual condiment packets with approved, refillable containers. Refill from bulk.

 FORMCHECKBOX 

Check food deliveries for spoiled or damaged products before accepting.

 FORMCHECKBOX 

Store and rotate supplies to minimize loss through spoilage and damage.

 FORMCHECKBOX 

Replace disposable beverage containers with washable, reusable ones (contact Environmental Health to ensure proper sanitizing).

 FORMCHECKBOX 

Replace disposable flatware and tableware with reusable items.

 FORMCHECKBOX 

Replace paper napkins and tablecloths with cloth ones. (Contact Environmental Health to ensure proper sanitizing). 
 FORMCHECKBOX 

Replace single-use paper hats for kitchen staff with reusable ones.

 FORMCHECKBOX 

Use Environmental Health-approved straw dispensers instead of offering pre-wrapped ones (for self-service areas only).

 FORMCHECKBOX 

Eliminate paper coasters or switch to reusable ones.

 FORMCHECKBOX 

Donate excess food (bread/produce OK; not meat or cooked food) to food banks or shelters (covered under Good Samaritan law) OR have an “employee use” policy for leftovers.

 FORMCHECKBOX 

Eliminate the use of non-recyclable packaging, such as Styrafoam.

 FORMCHECKBOX 

In the lunch/break room, replace disposables with permanent items (e.g., mugs, dishes, utensils, towels/rags, coffee filters, etc.) and use refillable containers for sugar, salt & pepper, etc. to avoid individual condiment packets.

 FORMCHECKBOX 

Serve dishes at office events in reusable serving dishes.

 FORMCHECKBOX 

Eliminate single-use plastic water bottles.   

 FORMCHECKBOX 

Use air hand dryers in restrooms instead of paper towels.

 FORMCHECKBOX 

Discourage the printing of emails.

 FORMCHECKBOX 

Set copier/printer defaults to double-sided. 

 FORMCHECKBOX 

Practice efficient printing and copying by using the size reduction feature—print two pages of a document or book onto one page.

 FORMCHECKBOX 

Use computer fax modems that allow faxing directly from computers without printing.

 FORMCHECKBOX 

Eliminate fax cover sheets by using "sticky" fax directory notes.

 FORMCHECKBOX 

Eliminate unnecessary forms, redesign forms to use less paper, or switch to electronic forms.

 FORMCHECKBOX 

Use a bulletin board or routing lists for memos and journals to reduce printed copies.

 FORMCHECKBOX 

Reduce all unwanted mailings:

· Eliminate duplicates by returning labels requesting all but one be removed.

· Reduce junk mail. Guidance and a PDF kit are at http://stopjunkmail.org  Reduce catalogs at www.catalogchoice.org   

· Eliminate duplicates in your own mailing lists.

 FORMCHECKBOX 

For new software, order only the number of manuals needed. Do the same with phone books. Encourage employees to share.

 FORMCHECKBOX 

Subscribe to journals online rather than receiving hard copies.   

 FORMCHECKBOX 

Design marketing materials that require no envelope – simply fold and mail.

 FORMCHECKBOX 

Centralize purchasing to eliminate unnecessary purchases and ensure all waste reduction purchasing policies are followed.

 FORMCHECKBOX 

Use optical scanners, which give more details about inventory, for more precise ordering.

 FORMCHECKBOX 

Lease, rather than purchase, computers and printers.

 FORMCHECKBOX 

Leave mowed grass on lawn (“grasscycling”).

 FORMCHECKBOX 

Other:      
3. REUSE materials in 3 ways.

 FORMCHECKBOX 

Offer a small incentive to customers bringing their own coffee mugs, beverage containers, etc.

 FORMCHECKBOX 

Reuse old tablecloths, cloth napkins and washcloths as rags. 

 FORMCHECKBOX 

Require laundry service to use reusable bags to transport dirty and clean linen. 

 FORMCHECKBOX 

Donate old uniforms and linens to shelters or nonprofits or otherwise recycle them.

 FORMCHECKBOX 

Old guest towels, washcloths, cloth napkins and tablecloths as rags.

 FORMCHECKBOX 

Require laundry service to use reusable bags to transport dirty and clean linen. 

 FORMCHECKBOX 

Reuse paper or plastic packaging materials.
 FORMCHECKBOX 

Print on previously printed paper, or designate a tray on printers as a “draft” tray. 

 FORMCHECKBOX 

Reuse office paper as scratch paper.   

 FORMCHECKBOX 

Reuse envelopes by covering old addresses and postage, and affixing new. 

 FORMCHECKBOX 

Designate a reuse area for office supplies such as binders, folders and staplers.   

 FORMCHECKBOX 

Reuse garbage bag liners.

 FORMCHECKBOX 

Have your toner cartridges refilled for use.

 FORMCHECKBOX 

Donate furniture, supplies, scrap materials, etc., or use a waste exchange program where another business can take your unwanted items (www.ciwmb.ca.gov/CalMAX).
 FORMCHECKBOX 

Other:      
4. RECYCLE all of the required materials and at least one additional material.
 FORMCHECKBOX 

REQUIRED: Cardboard

 FORMCHECKBOX 

REQUIRED: Newspapers, office/mixed paper, junk mail

 FORMCHECKBOX 

REQUIRED: Glass bottles and jars

 FORMCHECKBOX 

REQUIRED: Metal cans, containers, aluminum foil

 FORMCHECKBOX 

REQUIRED: Plastics (beverage bottles, condiment containers, packaging materials and non-deposit containers).
 FORMCHECKBOX 

Collect food waste for offsite composting. Set up collection service with your garbage company (REQUIRED for the City of Berkeley).
 FORMCHECKBOX 

Donate old uniforms and linens to shelters or nonprofits or otherwise recycle them.  

 FORMCHECKBOX 

Wood (pallets, wood from remodeling)

 FORMCHECKBOX 

Scrap metal (from remodeling and replacing equipment). 

 FORMCHECKBOX 

Landscape trimmings. (Can be part of the contract with your landscape service or can be collected with food waste). 

 FORMCHECKBOX 

Carpeting. 

 FORMCHECKBOX 

Leave grass clipping on mowed turf (“grass-cycling”).

 FORMCHECKBOX 

Other:      
5. Buy the first required item and at least 3 more items with recycled content.

Purchasing products made from recycled materials conserves resources and is essential to support the recycling market.

 FORMCHECKBOX 

REQUIRED:  Copier/printer paper with at least 30% post-consumer waste

 FORMCHECKBOX 

Copier/printer paper with 100% post-consumer waste

 FORMCHECKBOX 

Written policy guiding purchase that emphasizes buying recycled-content and low- toxicity products

 FORMCHECKBOX 

Paper table covers.

 FORMCHECKBOX 

Placemats 

 FORMCHECKBOX 

Napkins

 FORMCHECKBOX 

Menus 

 FORMCHECKBOX 

Guest checks

 FORMCHECKBOX 

Take-out containers – paperboard and plastics (#1 and #2, not #6 and #7)
 FORMCHECKBOX 

Floor mats

 FORMCHECKBOX 

Recycling bins and containers

 FORMCHECKBOX 

Garbage bags

 FORMCHECKBOX 

Folders or other paper products

 FORMCHECKBOX 

Envelopes

 FORMCHECKBOX 

Letterhead

 FORMCHECKBOX 

Business cards

 FORMCHECKBOX 

Paper towels

 FORMCHECKBOX 

Tissues

 FORMCHECKBOX 

Toilet paper

 FORMCHECKBOX 

Toilet seat covers.

 FORMCHECKBOX 

Recycled or remanufactured laser and copier toner cartridges

 FORMCHECKBOX 

Carpet, carpet undercushion, or flooring

 FORMCHECKBOX 

Remodeling/construction materials: cabinets, fixtures, ceramic and ceiling tiles, drywall, insulation, interior paneling, composite lumber/wood, roofing, concrete, etc. 

 FORMCHECKBOX 

Mulch, soil amendments and compost made of plant trimmings or green waste.

 FORMCHECKBOX 

Paint.

 FORMCHECKBOX 

Purchase or obtain previously used furniture, supplies or materials (ciwmb.ca.gov/CalMAX, freecycle.org, Craig’s List). List examples: 
 FORMCHECKBOX 

     
 FORMCHECKBOX 

     
 FORMCHECKBOX 

     
 FORMCHECKBOX 

Other:      
Energy Conservation


   Measures
1. Complete regularly scheduled maintenance on your HVAC (heating, ventilation and air conditioning) and refrigeration systems.

· Clean permanent filters with mild detergents every two months (change replaceable filters every 2 months).

· Check entire system each year for coolant and air leaks, clogs, and obstructions of air intake and vents.

· Keep condenser coils free of dust and lint.

· Keep evaporator coils free of excessive frost.

2. Save energy in 7 ways. At least 3 must come from “Equipment & Facility”, and must include the two required lighting measures.

EQUIPMENT & FACILITY:

General
 FORMCHECKBOX 

Use electrical equipment with energy saving features (e.g. Energy Star®) and ensure Energy Star settings are enabled.  

 FORMCHECKBOX 

Use power management software programs that save energy by automatically turning off idle monitors and printers (must be purchased separate from computer).

 FORMCHECKBOX 

Use a time switch to automatically turn off office equipment after working hours. 

 FORMCHECKBOX 

Use timers on hood, exhaust systems and hood lights. 

 FORMCHECKBOX 

Use sensors on vending and ice machines and place machines in shaded areas.

 FORMCHECKBOX 

Use weather stripping (weatherizing and caulking) to seal air gaps around doors and windows.

 FORMCHECKBOX 

Insulate all hot water pipes, hot water heaters and storage tanks.  

 FORMCHECKBOX 

Use a booster heater for hot water use.

 FORMCHECKBOX 

Use a solar water heater or preheater. 

 FORMCHECKBOX 

Replace electric hot water heaters with natural gas ones.

 FORMCHECKBOX 

Other:      
Lighting

 FORMCHECKBOX 

REQUIRED:  Replace any older T-12 fluorescent lighting with energy-efficient T-8 or T-5 fixtures with electronic ballasts.

 FORMCHECKBOX 

REQUIRED:  Replace any incandescent bulbs with efficient compact fluorescents. 

 FORMCHECKBOX 

REQUIRED:  Improve exit sign efficiency to less than 5 watts per sign by using LED, electroluminescent, photoluminescent or other applicable signs.

 FORMCHECKBOX 

Reduce number of fixtures.

 FORMCHECKBOX 

Increase lighting efficiency by installing optical reflectors and/or diffusers.

 FORMCHECKBOX 

Use lighting controls such as occupancy sensors, bypass/delay timers, photocells, or time clocks, especially in low occupancy areas such as walk-in refrigerator/freezers, closets and restrooms.

 FORMCHECKBOX 

Use dimmable ballasts to dim lights to take advantage of daylight. 

 FORMCHECKBOX 

Use daylight dimmers that turn off automatically when light is sufficient.

 FORMCHECKBOX 

Other:      
GREEN NOTE: 

PG&E’s ClimateSmart program helps you to balance out your greenhouse gas (GHG) emissions through environmental conservation, restoration and protection projects. See details at www.pge.com/climatesmart. 
Heating, Ventilation & Cooling

 FORMCHECKBOX 

Use building design features for improved or more efficient ventilation or heat conservation. Describe:

· 
     
· 
     
 FORMCHECKBOX 

Use a 365 day programmable thermostat to control heating and air conditioning.

 FORMCHECKBOX 

Use bypass timers and/or time clocks. 

 FORMCHECKBOX 

Use ceiling fans for air circulation. 

 FORMCHECKBOX 

Replace or supplement an A/C system with an evaporative cooler.

 FORMCHECKBOX 

Use economizers on A/C to increase air circulation.

 FORMCHECKBOX 

Replace single or package A/C unit with one with a greater Energy Efficient Rating (EER).

 FORMCHECKBOX 

Use C02 occupancy sensors to control air conditioning and heat. 

 FORMCHECKBOX 

Control air conditioning and heating in meeting rooms and guest rooms through occupancy sensors or key cards. `
 FORMCHECKBOX 

Provide shade for HVAC condenser, especially roof-top fixtures

 FORMCHECKBOX 

Shade sun-exposed windows and walls: use awnings, sunscreens, shade trees or shrubbery.

 FORMCHECKBOX 

Apply window film to reduce solar heat gain, if applicable.

 FORMCHECKBOX 

Use energy-efficient double paned windows.

 FORMCHECKBOX 

Replace an electric heating system with a natural gas system.

 FORMCHECKBOX 

Other:      
Water Heating 

 FORMCHECKBOX 

Insulate all hot water pipes, hot water heaters and storage tanks.  

 FORMCHECKBOX 

Use a booster heater/instantaneous hot water heaters at point of use.

 FORMCHECKBOX 

Use a solar water heater or preheater. 

 FORMCHECKBOX 

Use a pool cover to reduce evaporation and heat loss when pool is not in use. 

 FORMCHECKBOX 

Replace electric hot water heaters with natural gas ones.

 FORMCHECKBOX 

Other:      
Refrigeration

 FORMCHECKBOX 

Replace refrigerators older than 10 years with new Energy Star® ones.

 FORMCHECKBOX 

Insulate refrigeration cold suction lines.

 FORMCHECKBOX 

Use plastic strip curtains on walk-in refrigerator/freezer doors.

 FORMCHECKBOX 

Use open-door buzzers on walk-in refrigerators.

 FORMCHECKBOX 

Ensure freezer defrost time clock is set properly to avoid peak energy use periods (noon to 6 p.m.).

 FORMCHECKBOX 

Maintain refrigerator doors by replacing worn gaskets, aligning doors, enabling automatic door closers, and replacing worn or damaged strip curtains.

 FORMCHECKBOX 

Other:      
Dishwashing & Laundry

 FORMCHECKBOX 

Use a low-flow pre-rinse nozzle for dish scraping/pre-cleaning (saves both heating and water costs).

 FORMCHECKBOX 

Use a water-conserving dishwasher to save both heating and water costs. Reduce dishwasher temperature to the lowest temperature allowed by health regulations and consistent with the type of sanitizing system you are using (a door-type dishwasher should use 1.2 gallons/rack or less). 

 FORMCHECKBOX 

Use dryer dampness sensors.

 FORMCHECKBOX 

Use Energy Star® clothes washers.

 FORMCHECKBOX 

Other:      
Motors & Compressors

 FORMCHECKBOX 

Use an outside air intake (cool air takes less energy to compress).

 FORMCHECKBOX 

Use engineered nozzles and fittings to reduce “waste” compressed air.

 FORMCHECKBOX 

Control compressor system to ensure operation only during working hours.

 FORMCHECKBOX 

Use a variable speed drive on motors > 10 hp (rather than “throttling”) to reduce motor energy use by 10-70%.

 FORMCHECKBOX 

Downsize oversized motors or replace a large motor with several small motors that can be run individually to meet smaller tasks (about 30% of motors operate at less than 50% of full load).

 FORMCHECKBOX 

Replace a 110-volt motor with a 220-volt one. It is more powerful and more efficient.

 FORMCHECKBOX 

Other:      
STAFF PRACTICES:

General

 FORMCHECKBOX 

Turn off exhaust hoods and hood lights when appliances below are off (these must be on when appliances are on). 

 FORMCHECKBOX 

Institute a formal policy that all electronic devices and lighting be turned off when not in use.

 FORMCHECKBOX 

Use the standby mode on equipment (e.g., energy saver buttons on copiers).

 FORMCHECKBOX 

Other:      
Lighting

 FORMCHECKBOX 

Disconnect unused ballasts in delamped fixtures AND replace burned out lamps quickly to avoid ballast damage.

 FORMCHECKBOX 

Clean lighting fixtures, diffusers and lamps so that they are lighting as effectively as possible (dirt can reduce lighting efficiency by up to 50%). 

 FORMCHECKBOX 

Check and adjust lighting control devices such as time clocks and photocells.

 FORMCHECKBOX 

Use task lighting instead of lighting the entire area.

 FORMCHECKBOX 

Use light switch reminders to remind guests and staff to turn off lights when not in use.

 FORMCHECKBOX 

During slower periods, group customers so that lights and heating/cooling can be turned off in unoccupied areas.

 FORMCHECKBOX 

Other:      
Heating, Ventilation & Cooling

 FORMCHECKBOX 

Set thermostat to 78° F for cooling, 68° F for heating and use the thermostat’s night setback.

 FORMCHECKBOX 

Turn room-cooling units off when the weather is cooler.

 FORMCHECKBOX 

Close blinds and curtains to keep room cooler. 

 FORMCHECKBOX 

Seal off unused areas. Block and insulate unneeded windows and other openings.

 FORMCHECKBOX 

When repainting building exterior and roofs, choose light colors to reflect more sunlight.

 FORMCHECKBOX 

Other:      
Hot Water Use

 FORMCHECKBOX 

Drain and flush hot water tanks to the sanitary sewer every 6 months to prevent scale build-up and deposits (this can reduce heating efficiency).

 FORMCHECKBOX 

Set hot water heaters to standard 125°–130° F.

 FORMCHECKBOX 

Check pilot lights for proper adjustment (gas kitchen/hot water). 

 FORMCHECKBOX 

Other:      
Laundry

 FORMCHECKBOX 

Clean lint filters after every drying load. 
 FORMCHECKBOX 

Other:      
Motors & Compressors

 FORMCHECKBOX 

Institute a compressed air maintenance program that includes inspecting and evaluating system components for optimum efficiency.

 FORMCHECKBOX 

Other:      
Water Conservation


   Measures
1. Save water in these REQUIRED ways.

 FORMCHECKBOX 

Assign a person to monitor each water bill for early indicators of problems. Call your local water company if you notice unusual increases in use or for suggestions on how to use water more efficiently.

 FORMCHECKBOX 

Use signs in restrooms to encourage water conservation and to report leaks.

 FORMCHECKBOX 

Regularly check for and repair all leaks in your facility. Leaks in toilet tanks can be detected with leak detecting tablets, which may be available from your local water company.

 FORMCHECKBOX 

Install low-flow aerators and showerheads (your water company may offer these free of charge):

· As low as 0.5 gpm and no greater than 
2.5 gpm for lavatory sinks

· 2.0 gpm or less for kitchen sinks

· 2.0 gpm or less for showerheads

If you have landscaping/irrigation:

 FORMCHECKBOX 

Install matched precipitation rate sprinkler heads in turf areas.

 FORMCHECKBOX 

Test irrigation sprinklers 4 times per year to ensure proper operation and coverage and repair all broken or defective sprinkler heads/nozzles, lines and valves.

 FORMCHECKBOX 

Adjust sprinklers for proper coverage—optimize spacing, avoid runoff onto paved surfaces.

 FORMCHECKBOX 

Water during early morning, pre-dawn hours to reduce water loss from evaporation.

 FORMCHECKBOX 

Use repeat cycles when watering turf or shrubs to encourage percolation and deep root growth.

 FORMCHECKBOX 

Adjust the irrigation schedule monthly during irrigation season, or as needed.

 FORMCHECKBOX 

Use only dry methods to clean sidewalks, driveways, walkways or parking lots. Consult with local water agency to learn when and how water may be used to clean outdoor surfaces, and post instructions for maintenance staff.

 FORMCHECKBOX 

Operate dishwashers only when full.

 FORMCHECKBOX 

Hand scrape dishes before loading into dishwasher.

 FORMCHECKBOX 

Soak dirty pots and pans instead of cleaning with running water.

 FORMCHECKBOX 

Use foot triggers.

 FORMCHECKBOX 

Do not use running water to melt ice in bar sinks.

 FORMCHECKBOX 

Turn off food preparation faucets not in use.

 FORMCHECKBOX 

Unless required by health department, turn off the continuous flow used to wash the drain trays of the coffee/milk/soda beverage island. Clean thoroughly as needed.

 FORMCHECKBOX 

Serve guests drinking water only upon request.

 FORMCHECKBOX 

Thaw frozen food in the refrigerator rather than under running water.

 FORMCHECKBOX 

Shut off water-cooled air conditioning units when not needed.

 FORMCHECKBOX 

Wash full loads in laundry machines.

2. Save water in 3 other ways, including the first required way. 
Consider areas of greatest water use (facility or landscaping) in choosing new measures.  Be sure to ask your water company about rebates.

Facility:

 FORMCHECKBOX 

REQUIRED:  Install toilets using 1.6 gpf (gallon per flush) or less.

 FORMCHECKBOX 

Go beyond 1.6 gallon per flush toilets!  When replacing 3.5 gallon per flush or higher toilets, install High Efficiency Toilets that use 1.3 gallons or less per flush.

 FORMCHECKBOX 

Provide additional urinals in men’s restroom and reduce number of toilets (urinals use less water than toilets). 

 FORMCHECKBOX 

Replace flush mechanism in urinals with ones that flush at 1.0 gallon or less (as low as 0.125 gallon per flush) or install new waterless varieties.

 FORMCHECKBOX 

Install self-closing faucets (0.5 gpm and 0.25 gallon/cycle).

 FORMCHECKBOX 

Set up an annual program to educate staff about the benefits of efficient water use.

 FORMCHECKBOX 

Schedule your water company to make a presentation to staff to encourage water conservation at home. (Some water companies offer training and “take home” conservation kits.)

 FORMCHECKBOX 

Indoors, use dry floor cleaning methods, followed by damp mopping, rather than spraying or hosing with water.

 FORMCHECKBOX 

Change window cleaning schedule from “periodic” to “as required.”

 FORMCHECKBOX 

Reduce water pressure to no higher than 
50 psi by installing pressure reducing valves.

 FORMCHECKBOX 

Adjust boiler and cooling tower blowdown rate to maintain TDS (total dissolved solids) at levels recommended by manufactures’ specifications.

 FORMCHECKBOX 

Replace water-cooled equipment, such as air conditioning units, with air-cooled.

 FORMCHECKBOX 

Other:      
Landscaping:

 FORMCHECKBOX 

Mulch all non-turf areas.

 FORMCHECKBOX 

Modify your existing irrigation system to include drip irrigation, where feasible.

 FORMCHECKBOX 

Install water efficient shrubs, ground cover, cobblestones, brick, or mulch in place of turf.

 FORMCHECKBOX 

If installing new turf, limit area and use drought tolerant species, space sprinkler heads such that the water from one sprinkler head reaches the adjacent sprinkler heads.

 FORMCHECKBOX 

Install rain shut-off devices so that the irrigation controllers do not water plants when it is raining.

 FORMCHECKBOX 

Renovate existing landscape to include drought tolerant plants (water efficient landscape guidelines are available from your local water company).

 FORMCHECKBOX 

Hydrozone: Group plants with similar water requirements together on the same irrigation line and separate plants with different water requirements on separate irrigation lines.

 FORMCHECKBOX 

Install irrigation controllers that have at a minimum the following features: precise 
1-minute runtime capability; a minimum of 
3 separate programs; and 3 cycle start time features.

 FORMCHECKBOX 

Reduce irrigation system water pressure to no higher than 50 psi by installing pressure-reducing valves.

 FORMCHECKBOX 

Use reclaimed water for irrigation and other approved uses.

 FORMCHECKBOX 

Install a self-adjusting weather-based irrigation controller that automatically tailors watering schedules to match local weather, plant types, and other site-specific conditions. Controller must be certified under the Irrigation Association’s SWAT protocol.

 FORMCHECKBOX 

Work with your water company to develop a site-specific water budget. Track your monthly water use to ensure you are watering efficiently.

 FORMCHECKBOX 

Other:      
Water-Conserving Practices:

 FORMCHECKBOX 

Institute an optional towel and linens reuse policy for guests. Provide details about this option in guest rooms.

 FORMCHECKBOX 

Retrofit once-through water-cooled refrigeration units, air conditioners, and ice machines by using temperature controls and a recirculating chilled water loop system.

 FORMCHECKBOX 

Use water efficient clothes washers with a water factor of 7.5 or less.

 FORMCHECKBOX 

Evaluate the wash formula and machine cycles for efficiency. It may be appropriate to reprogram machines to eliminate a cycle.

 FORMCHECKBOX 

Use 1.6 gpm or less pre-rinse spray valves to rinse dishes.

 FORMCHECKBOX 

Use water conserving batch dishwasher systems (rebates available in some areas).

 FORMCHECKBOX 

In conveyor type washer, ensure water flow stops when no dishes are in the washer. Install a sensing arm or ware gate to detect the presence of dishes.

 FORMCHECKBOX 

If local rules allow, use a greywater system to deliver reusable water for cooling, washing, and watering landscapes (Call your local Public Health Dept. to see if permitted).

 FORMCHECKBOX 

Use pool cover to reduce evaporation and heat loss when pool is not in use.

 FORMCHECKBOX 

Reduce the water used to back-flush pool filters, remain on site to watch the back-flush process.

 FORMCHECKBOX 

Other:      
GREEN NOTE:

A faucet with a slow leak can waste 10 gallons of water a day, or more!

A single leaky toilet can waste as much as 1000 gallons of water per day.

Pollution Prevention


   Measures
1. Assess your facility to identify ways to prevent pollution. Review the plan annually for new measures to implement: 

· Check Material Safety Data Sheets (MSDS) and labels for all cleaning products, building maintenance materials, pesticides, fertilizers, and laundry products you use. Identify safer alternatives.

· Evaluate each area of your hotel to identify actual and potential sources of pollution, and ways to prevent it.

· If you contract out for maintenance services, require your service provider to give you an inventory of items to be used and stored onsite. Include these items in your assessment.

2. Practice good housekeeping in 7 ways.

All Areas:

 FORMCHECKBOX 

Locate all potential pollutants away from food preparation, service and storage areas as well as sewer and storm drains.

 FORMCHECKBOX 

Provide containment for large amounts of liquid supplies.

 FORMCHECKBOX 

Implement a “just in time” purchasing policy and a “first in/first out” chemical usage policy.

 FORMCHECKBOX 

Routinely check storage areas, pipes and equipment for leaks, spills and emissions of chemicals, paints, and cleaners; repair any deficient items found. 

 FORMCHECKBOX 

Use enclosed delivery systems for transferring cleaners and/or other chemicals to prevent spills.

Indoors:

 FORMCHECKBOX 

Scrape grease from trays, grills and pans into the waste grease can to minimize kitchen grease going down sewer drains.

 FORMCHECKBOX 

Place baskets in drains to catch solids which then can be composted.

 FORMCHECKBOX 

Use dry surface cleaning methods rather than hosing down. Finish clean-up with damp mop or wipe.


GREEN NOTE: Only Rain Down The Drain!
The storm drain system is separate from the sanitary sewer system, and pollutants that enter these drains flow directly into creeks and the bay without treatment. Educate personnel about this difference and the importance of not letting contaminants enter storm drains.

All businesses are required to prevent anything except rainwater from entering storm drains from any of the following activities or sources:

· Loading docks

· Dumpster areas

· Outdoor working areas

· Storage areas

· Landscaping

· Construction

· Cleaning equipment/tools

· Pre-painting

· Power-wash water

· Washing vehicles

· Cleaning parking lots

Monitor subcontractors to ensure their activities are not polluting storm drains. Prevent erosion during all landscape, construction or other activities. Ask your county coordinator for a list of mobile cleaners.

Outdoors:

 FORMCHECKBOX 

REQUIRED:  Keep dumpsters covered and impermeable to rainwater.  Keep dumpsters from overflowing and keep dumpster/parking areas clean.

 FORMCHECKBOX 

REQUIRED:  If using water to clean parking or other outdoor areas, hire a BASMAA- certified mobile cleaner (www.basmaa.org).  Contractor must use equipment that collects wash water and disposes to sanitary sewer.
 FORMCHECKBOX 

REQUIRED:  Ensure that nothing other than rain enters a storm drain.

 FORMCHECKBOX 

REQUIRED:  Keep dumpsters covered, not overflowing and impermeable to rainwater.  Keep dumpster and parking areas clean.

 FORMCHECKBOX 

REQUIRED:  Do not wash cars, equipment, floor mats or other items outside where run-off water flows straight to the storm drain; this wash water should be directed to a sewer drain. 

 FORMCHECKBOX 

REQUIRED:  Clean private catch basins annually (by October 15th), before the first rain and as needed thereafter.

 FORMCHECKBOX 

Keep receiving, loading docks, dumpster and parking areas free of litter, oil drips and debris.

 FORMCHECKBOX 

Post signs at trouble spots (e.g., loading docks, dumpster areas, outside hoses) describing proper practices to prevent pollutants from reaching storm drains.

 FORMCHECKBOX 

Label all storm water drains with “No dumping, Drains to Bay” message. 

 FORMCHECKBOX 

Use a catch basin filter in your parking lot storm drains.

 FORMCHECKBOX 

Use shut-off valves at storm drains or keep temporary storm drain plugs at loading docks or outdoor areas for quick spill response.

 FORMCHECKBOX 

Use secondary containment or berms in liquid storage and transfer areas to capture spills.

 FORMCHECKBOX 

Keep a spill kit handy to catch/collect spills from leaking company or employee vehicles.

 FORMCHECKBOX 

Use landscaping to prevent erosion problems, especially during construction or remodeling.

 FORMCHECKBOX 

During construction, confine, contain and properly dispose of construction and demolition debris to protect storm drains.

 FORMCHECKBOX 

Have an outdoor ashtray or cigarette “butt” can for smokers.

 FORMCHECKBOX 

Other:      
3. Prevent Pollution and REDUCE chemical use in all REQUIRED ways4 ways.

 FORMCHECKBOX 
   REQUIRED:  Reduce chemicals (cleaners, pesticides, paints, etc.) used and stored, disposing of any unneeded products at the local Household Hazardous Waste Program.

 FORMCHECKBOX 
   REQUIRED:  Work with your janitorial or building maintenance staff to use safer alternatives to potentially harmful products.  Require the use of low toxic cleaning products such as those that meet Green Seal certification standards (www.greenseal.org).  List products used:        
REQUIRED:  Eliminate or reduce use of pesticides using Integrated Pest Management (IPM). IPM utilizes good housekeeping, pest monitoring and exclusion as well as less toxic pesticides and/or non-chemical pest control methods when needed. Implement all applicable measures:  

 FORMCHECKBOX 
  Keep kitchen, waste storage and other areas clean to prevent pest problems. 

 FORMCHECKBOX 

When pest control is necessary, use traps, barriers and less toxic pesticides (such as soaps, oils, microbials and baits). Apply on an as-needed (vs. set) schedule. 

 FORMCHECKBOX 
   Do not use outside building perimeter spraying.  

 FORMCHECKBOX 

If contracting with a pest control operator, choose one that is EcoWise Certified (www.ecowisecertified.com), or specify in pestcontrol contracts that primary pest management methods include non-chemical pest prevention and pest exclusion.

 FORMCHECKBOX 

REQUIRED:  Replace aerosols with pump dispensers.

 FORMCHECKBOX 
   REQUIRED:  Unless required by the Health
       Department, use no products with added 
       antibacterial agents, such as triclosan.  
       This includes products used for hand
       washing, dishwashing and cleaning.
 FORMCHECKBOX 

Restrict use of hazardous products by limiting access to authorized staff.

 FORMCHECKBOX 

Buy organically/sustainably grown foods or beverages for the kitchen. List specific product replacements below:

 FORMCHECKBOX 
      
 FORMCHECKBOX 
      
 FORMCHECKBOX 
      
 FORMCHECKBOX 
      
 FORMCHECKBOX 

Use laundry detergents that have little or no phosphates.

 FORMCHECKBOX 

Replace standard fluorescent lights with low or no mercury fluorescent lights.

 FORMCHECKBOX 

Use rechargeable batteries and appliances, such as hand-held vacuum cleaners and flashlights. 

 FORMCHECKBOX 

Use recycled oil for vehicles/equipment. 

 FORMCHECKBOX 

Use unbleached and/or chlorine-free paper products (copy paper, paper towels, napkins, coffee filters, etc.).

 FORMCHECKBOX 

Replace toxic permanent ink markers/pens with water-based ones.

 FORMCHECKBOX 

Print promotional materials with vegetable or other low-VOC inks.

 FORMCHECKBOX 

Use natural or low emissions building materials, carpets or furniture.

 FORMCHECKBOX 

Use electric (not gas) powered tools.

 FORMCHECKBOX 

Use wet scraping, tenting or HEPA-vac instruments to reduce dust and debris when removing paint; avoid chemical paint stripping.

 FORMCHECKBOX 

Use high-efficiency paint spray equipment.

 FORMCHECKBOX 

Do business with other “green” vendors or 

services, such as certified Bay Area Green Businesses (see full listings at www.greenbiz.ca.gov).

 FORMCHECKBOX 

Other:      
4. RECYCLE/REUSE 3 of the following potential pollutants (please see measures required by law in “Green Notes” box on the next page). 
 FORMCHECKBOX 
  REQUIRED:  Properly store and recycle Universal Wastes as required by law.  Designate a storage area for spent Universal Wastes, posting a sign and notifying employees of this area.  Ensure that these are recycled (and not put into the garbage).  Universal Wastes are:

· Spent fluorescent light tubes & bulbs

· Electronic equipment (computers, cell phones, pagers, etc.)

· Batteries (RBRC recycles these for free!  www.rbrc.org)

 FORMCHECKBOX 

Restaurant’s used cooking oil (give or sell for use as alternative fuel, such as biodiesel).

 FORMCHECKBOX 

Excess paint/solvents (keep only what’s needed for touch ups, then give remainder to hazardous waste collection program, donate to anti-graffiti program, or return to contractor or manufacturer). 

 FORMCHECKBOX 

Used copier toner cartridges (take back to supplier or send back to manufacturer for recycling or refilling). 

 FORMCHECKBOX 

Ink jet cartridges (send or take back for recycling or refilling).

 FORMCHECKBOX 

Car fluids from company vehicles.

 FORMCHECKBOX 

Donate for reuse (not just recycle) electronic equipment, such as computers, phones, pagers, etc.

 FORMCHECKBOX 

Other:      
5. REDUCE vehicle emissions in 3 ways.

 FORMCHECKBOX 

REQUIRED: Join the Air District’s “Spare the Air” program (see box below) and notify staff of “Spare the Air” days.

SPARE THE AIR PROGRAM

Spare the Air Days are called in summer when conditions indicate that we may exceed state and federal air quality standards for healthy air. Participating businesses receive Spare the Air Day alerts and free information on ways to improve air quality. Join by visiting the Bay Area Air Quality Mgmt. District’s website at www.SparetheAir.org.

 FORMCHECKBOX 

When possible, arrange for a single vendor who makes deliveries for several items.

 FORMCHECKBOX 

Patronize services close to your business (e.g., food/catering, copy center, etc.) and encourage employees to do the same.

 FORMCHECKBOX 

Carefully plan delivery routes to eliminate unnecessary trips.

 FORMCHECKBOX 

Keep company vehicles well maintained to prevent leaks and minimize emissions; encourage employees to do the same. 

 FORMCHECKBOX 

Other:      
Commute Alternatives

 FORMCHECKBOX 

Provide staff with information on alternatives to driving cars by themselves. Make transit schedules, commuter ride sign-ups, etc. available to staff. Get help from www.511.org using their “Ridematch Tool”.

 FORMCHECKBOX 

Offer telecommuting opportunities and/or flexible schedules so workers can avoid heavy traffic commutes.

 FORMCHECKBOX 

Hire locally

 FORMCHECKBOX 

Assist staff in finding local housing.

 FORMCHECKBOX 

Other:      
Commute Alternatives for Larger Employers

 FORMCHECKBOX 

Offer lockers and showers for staff who walk, jog or bicycled to work. 

 FORMCHECKBOX 

Offer secure bicycle storage for staff and customers.

 FORMCHECKBOX 

Have other policies in place that encourage employees to carpool or use mass transit (e.g. a guaranteed ride home in emergency situations).
 FORMCHECKBOX 
   Offer employees pre-tax commuter benefits    

       for transit or alternative transport.  
GREEN NOTE:  Share the savings on pre-tax commuter benefits! Employers save as much as 7.65% on payroll taxes per participating employee. For more information go to www.rideshare.511.org/rideshare_rewards/"
 FORMCHECKBOX 

Set aside car/van pool parking spaces.

 FORMCHECKBOX 

Provide commuter van.

 FORMCHECKBOX 

Encourage bicycling to work by offering rebates on bicycles bought for commuting.

 FORMCHECKBOX 

Offer a shuttle service to and from bus, train and/or light rail stops.

Greenhouse Gas Emissions

 FORMCHECKBOX 

Complete a CO2 or eco-footprint calculator to determine your own greenhouse gas emissions.
 FORMCHECKBOX 

Convert company vehicles to low emission vehicles (electric, hybrid, natural gas or alternative fuels).

 FORMCHECKBOX 

Offer electric vehicle recharge ports for visitors and staff using electric vehicles.

 FORMCHECKBOX 

Use biodiesel (100% or blends) or vegetable diesel in place of petrodiesel in vehicles.
 FORMCHECKBOX 

Install renewable energy sources, such as solar panels or wind generators.  


System Size:      
 FORMCHECKBOX 

Buy renewable energy credits or green tags to offset the CO2 emissions from your office’s use of electricity and natural gas (see www.green-e.org).

 FORMCHECKBOX 

Use or invest in renewable energy (ask your local utility or the Center for Resource Solutions at 415/561-2100 or www.resource-solutions.org).

 FORMCHECKBOX 

Offset company’s vehicle CO2 emissions.  See www.driveneutral.org, www.carneutral.org, or www.terrapass.org.

 FORMCHECKBOX 

Participate in PG&E’s ClimateSmart Program: See details at www.pge.com/climatesmart.

 FORMCHECKBOX 

Other:      




































March 2009     Hotel      Business

1

