[image: image1.png]GREEN BUSINESS
PROGRAM



Resource Conservation & 
Pollution Prevention Checklist for

Office/Retail

Business 
Contact   
Phone  
Address 
City / ZIP    
Email 
Fax

Web 
   Common Questions
Why should my business get certified as a Green Business?
· Saving energy, water and raw materials saves you money. Sending less trash to the landfill saves you money, too.

· Developing a positive, proactive relationship with local compliance inspectors can help you avoid liability, fines and other sanctions.

· The Program promotes Green Businesses to the public and other businesses (again, for free)!

· Your company’s community image is enhanced through Green Business certification. 

· Your employees will enjoy a safer workplace and will have one more reason to take pride in working for you.

· The Green Business Program offers you free, convenient, time-saving assistance.

Do I get credit for the good things I’m already doing?
Yes!  In fact, your company may already qualify. These Standards are designed to fit most businesses, but if certain measures are not applicable or feasible for your facility and operations, you may request an exemption or demonstrate alternative measures. 

Do I have to do everything on the checklist to become a Green Business?
No, there are many ways to qualify. You must meet the minimum standards in each category. Beyond that, you may use the checklist to identify “next steps” to becoming even greener.


What if I haven’t had an energy, water or solid waste audit already?

The Green Business Program can arrange an audit for you as part of your certification.

How do I get started?
Read the checklist and check all boxes that apply. Complete and return your checklist by email as an MS Word document. Contact your Green Business Coordinator at Pamela.evans@acgov.org or 510.567.6770 with questions.

Is there a fee to be certified as a Green Business?
No, Green Business certification is free!

GREEN NOTE: 

Going Green Counters Climate Change

Climate Change results from increases in greenhouse gases, like carbon dioxide and methane, trapping heat that would otherwise escape the atmosphere. You can reduce this build-up (and your carbon footprint) by being green! Our checklist has many climate-friendly measures, such as:

· Conserve energy with fluorescent lights and Energy Star equipment.

· Reduce waste at the landfill (and methane gas emissions)—recycle, compost and buy products with recycled content.

· Conserve water (and the energy to deliver it) with low-flow toilets and drought tolerant plants.

· Invest in renewable energy with renewable energy credits and solar panels.

· Conserve fuel by taking public transit, your bike or a high MPG vehicle.

General Standards for All Businesses


   Certification
To be certified a Green Business you must:

1. Comply with all environmental regulations applicable to your business. Please ask staff about this.

2. Implement a variety of measures to save energy, water and other materials, and reduce waste. This checklist walks you through this step!
3. Allow site visits to verify that your business meets the above two steps.
4. Pledge to continue these terrific efforts to prevent pollution and conserve resources (including environmental compliance).

Green Businesses practicing resource efficiency are assuming stewardship for the Earth and its resources, with the goals of achieving a successful business operation, a healthy bottom line, and sustenance of the environment and its inhabitants. A Green Business not only conserves resources but educates employees and customers about resource conservation.
Re-certification: Certification as a Green Business is good for three years. We strongly encourage continuous improvement. When it’s time to recertify, we will ask you to show us additional measure(s) you have implemented.

   Measures

The following general measures are required for all businesses:

 FORMCHECKBOX 

Track water and energy usage and solid and hazardous waste generation.

 FORMCHECKBOX 

Establish a ‘green team’ that can help guide efforts to green your business.

 FORMCHECKBOX 
   Adopt a written environmentally
       preferable (green) purchasing policy. For a  
       model, contact Pamela.Evans@acgov.org  or 
       find examples at: 

         http://www.stopwaste.org/home/index.asp?page=439
 FORMCHECKBOX 

Provide 3 on-going incentives or training opportunities to encourage management and employee participation in the Green Business Program. For example, incorporate Green Business into:

· Performance appraisals, job descriptions, training programs, employee orientations

· Staff meeting discussions

· Your employee reference materials

· Your company newsletter or bulletins

· Your company suggestion and reward programs




 FORMCHECKBOX 

Inform your customers about your business’ environmental efforts and what you are doing to meet the green business standards. For example:

 FORMCHECKBOX 

Post the Green Business logo, certification and pledge in a visible location.

 FORMCHECKBOX 

Post reminders listing steps you are taking to be a Green Business.

 FORMCHECKBOX 

Offer tours that highlight your Green Business successes.

 FORMCHECKBOX 

Offer customers “green” service or amenities options.

 FORMCHECKBOX 

Highlight your Green Business efforts and/or certification on your website, and link it to the GBP home page.
 FORMCHECKBOX 

Other:      
 FORMCHECKBOX 

Assist at least one other business in learning about becoming a Green Business. Encourage them to enroll in the Green Business Program and provide their contact information to your GBP coordinator.

Solid Waste Reduction & Recycling


   Measures
1. Look in your garbage dumpster annually to see if there are items that could instead be reused by someone else or recycled.

2. REDUCE waste in 7 ways.

 FORMCHECKBOX 

REQUIRED:  Eliminate individual bottles of water for employees and guests.   

 FORMCHECKBOX 

REQUIRED:  Eliminate the use of polystyrene, such as Styrofoam, in beverages and food service ware.

 FORMCHECKBOX 

REQUIRED:  If copiers and printers have duplex printing capability, duplex printing must be enabled.  New machines must have duplex printing capability.

 FORMCHECKBOX 

REQUIRED:  Retailers:  If you provide disposable bags to your customers, you must primarily provide paper bags instead of plastic.  Plastic bags should only be provided when necessary.

 FORMCHECKBOX 

Practice efficient printing by using narrow margins, using the size reduction feature (print two pages onto one page), and posting instructions on how to load letterhead and envelops (to avoid misprints).

 FORMCHECKBOX 

Discourage the printing of emails and documents.
 FORMCHECKBOX 

Use computer fax modems that allow faxing directly from computers without printing.

 FORMCHECKBOX 

Eliminate unnecessary forms, redesign forms to use less paper, or switch to electronic forms.

 FORMCHECKBOX 

Use a bulletin board or routing lists for memos and journals to reduce printed copies.

 FORMCHECKBOX 

Reduce all unwanted mailings:

· Eliminate duplicates by returning labels requesting all but one be removed.

· Reduce junk mail. Guidance and a PDF kit are at http://stopjunkmail.org  Reduce catalogs at www.catalogchoice.org   

· Eliminate duplicates in your own mailing lists.

 FORMCHECKBOX 

For new software, order only the number of manuals needed. Do the same with phone books. Encourage employees to share.

 FORMCHECKBOX 

Subscribe to journals online rather than receiving hard copies.   

 FORMCHECKBOX 

Design marketing materials that require no envelope – simply fold and mail.

 FORMCHECKBOX 

Buy products in returnable or reusable containers. 

 FORMCHECKBOX 

Work with vendors to: 

· Minimize and take back packaging (including empty containers);

· Eliminate polystyrene (Styrofoam, bubble wrap, etc.; or 

· Take back used/damaged product for reuse or recycling; to minimize packaging.

 FORMCHECKBOX 

In the lunch/break room, replace disposables with permanent items (e.g., mugs, dishes, utensils, towels/rags, coffee filters, etc.) and use refillable containers for sugar, salt & pepper, etc. to avoid individual condiment packets.

 FORMCHECKBOX 

Serve dishes at office events in reusable serving dishes.

 FORMCHECKBOX 

Centralize purchasing to eliminate unnecessary purchases and ensure all waste reduction purchasing policies are followed.

 FORMCHECKBOX 

Use optical scanners, which give more details about inventory, for more precise ordering.

 FORMCHECKBOX 

Lease, rather than purchase, computers and printers.

 FORMCHECKBOX 

Leave mowed grass on lawn (“grasscycling”).

 FORMCHECKBOX 

Other:      
3. REUSE materials in 3 ways.

 FORMCHECKBOX 

Print on the back side of previously printed on paper.  Either use a second tray of the printer for such paper, or keep it stacked next to the printer for hand loading.
 FORMCHECKBOX 

Reuse office paper as scratch paper.   

 FORMCHECKBOX 

Reuse envelopes. 

 FORMCHECKBOX 

Give or sell reusable cloth bags (this is required for stores over 10,000 sq.ft).
 FORMCHECKBOX 

Offer a small incentive to customers bringing their own shopping bags, coffee mugs, etc.

 FORMCHECKBOX 

Have your customers return packaging to you for reuse.

 FORMCHECKBOX 

Reuse paper or plastic packaging materials.
 FORMCHECKBOX 

Designate a reuse area for office supplies such as binders, folders and staplers.   

 FORMCHECKBOX 

Reuse garbage bag liners.

 FORMCHECKBOX 

Have your toner cartridges refilled for use.

 FORMCHECKBOX 

Donate furniture, supplies, scrap materials, etc., or use a waste exchange program where another business can take your unwanted items (www.ciwmb.ca.gov/CalMAX).
 FORMCHECKBOX 

Other:      
4. RECYCLE all of the required materials and at least one additional material.
 FORMCHECKBOX 

REQUIRED:  Provide recycling containers at convenient and appropriate locations (i.e., lobbies, guest rooms, vending machines, kitchens, next to garbage containers, desks, etc.). 

 FORMCHECKBOX 

REQUIRED: Cardboard

 FORMCHECKBOX 

REQUIRED: Newspapers, office/mixed paper, junk mail

 FORMCHECKBOX 

REQUIRED: Glass bottles and jars

 FORMCHECKBOX 

REQUIRED: Metal cans, containers, aluminum foil

 FORMCHECKBOX 

REQUIRED: Plastic bottles and containers

 FORMCHECKBOX 

Plastics

 FORMCHECKBOX 

CDs/DVDs 

 FORMCHECKBOX 

Scrap metal

 FORMCHECKBOX 

Landscape trimmings (green waste)

 FORMCHECKBOX 

Food waste for composting

 FORMCHECKBOX 

Wood, including pallets

 FORMCHECKBOX 

Carpeting

 FORMCHECKBOX 

Other:      
5. Buy the first required items and at least two more items with recycled content.

Purchasing products made from recycled materials conserves resources and is essential to support the recycling market.

 FORMCHECKBOX 

REQUIRED:  Copier/printer paper with at least 30% post-consumer waste.

 FORMCHECKBOX 

REQUIRED:  Paper towels with 35% post-consumer waste.

 FORMCHECKBOX 

Copier/printer paper with 100% post-consumer waste.

 FORMCHECKBOX 

Folders or other paper products.

 FORMCHECKBOX 

Envelops.

 FORMCHECKBOX 

Letterhead.

 FORMCHECKBOX 

Business cards.

 FORMCHECKBOX 

Tissues.

 FORMCHECKBOX 

Toilet paper.

 FORMCHECKBOX 

Toilet seat covers.

 FORMCHECKBOX 

Garbage bags.

 FORMCHECKBOX 

Boxes or bags for retail use or shipping.

 FORMCHECKBOX 

Recycled or remanufactured laser and copier toner cartridges.

 FORMCHECKBOX 

Carpet, carpet undercushion, or flooring.

 FORMCHECKBOX 

Remodeling/construction materials: cabinets, fixtures, ceramic and ceiling tiles, drywall, insulation, interior paneling, composite lumber/wood, roofing, concrete, etc. 

 FORMCHECKBOX 

Sell products made with recycled content.

Purchase or obtain previously used furniture, supplies or materials (ciwmb.ca.gov/CalMAX, freecycle.org, Craig’s List). List examples: 
 FORMCHECKBOX 

     
 FORMCHECKBOX 

     
 FORMCHECKBOX 

     
 FORMCHECKBOX 

Other:      
Energy Conservation


   Measures
1. REQUIRED:  Conduct regular maintenance on your HVAC (heating, ventilation and air conditioning) and refrigeration systems at least twice a year.

 FORMCHECKBOX 

Clean permanent filters with mild detergents every two months (change replaceable filters every two months).  

 FORMCHECKBOX 

Check entire system each year for coolant leaks, duct sealing, clogs and obstructions of air intake and vents..  

 FORMCHECKBOX 

Clean condenser coils of dust and lint.  

 FORMCHECKBOX 

Clean evaporator coils of excessive frost.  

 FORMCHECKBOX 

Inspect and repair economizers on AC systems.  

 FORMCHECKBOX 

Assign a person to monitor each energy bill for sudden rises in energy use.  

2. Save energy in 7 ways (including all required measures). 

EQUIPMENT & FACILITY

General
 FORMCHECKBOX 

Use office equipment with energy saving features (e.g. ENERGY STAR®) and ensure ENERGY STAR settings are enabled.  

 FORMCHECKBOX 

Use power management software programs that save energy by automatically turning off idle monitors and printers (must be purchased separate from computer).
 FORMCHECKBOX 

Use sensors on cold vending machines and place machines in shaded areas.

 FORMCHECKBOX 

Use weather stripping (weatherizing and caulking) to seal air gaps around doors and windows.

 FORMCHECKBOX 

Insulate all hot water pipes.  

 FORMCHECKBOX 

Use instantaneous hot water heaters at point of use.

 FORMCHECKBOX 

Use a solar water heater or preheater. 

 FORMCHECKBOX 

Purchase ENERGY STAR® qualified refrigerators.

 FORMCHECKBOX 

When repainting building exterior and roofs, choose light colors to reflect more sunlight.

 FORMCHECKBOX 

Other:      
Lighting

 FORMCHECKBOX 

REQUIRED:  Replace all T-12 fluorescent lighting with energy-efficient T-8 or T-5 fixtures with electronic ballasts or other equivalent efficacy lighting.

 FORMCHECKBOX 

REQUIRED:  Replace any incandescent bulbs with efficient compact fluorescents or other high efficacy lamps (lumens/watt >50) where appropriate. 

 FORMCHECKBOX 

REQUIRED:  Improve exit sign efficiency to less than 5 watts per sign by using LED, electroluminescent, photoluminescent or other applicable signs.

 FORMCHECKBOX 

Reduce number of fixtures or lamps per fixture where appropriate and increase lighting efficiency by installing optical reflectors and/or diffusers.

 FORMCHECKBOX 

Use lighting controls such as dual technology occupancy sensors, bypass/delay timers, photocells, or time clocks, especially in low occupancy areas such as closets and restrooms.

 FORMCHECKBOX 

Use dimmable ballasts and daylight controls such as astronomical clocks to dim lights to take advantage of daylight. 

 FORMCHECKBOX 

Other:      
GREEN NOTES:

ENERGY STAR®-compliant monitors have power management features and consume up to 90% less energy. Screen savers don’t save energy!

ENERGY STAR® copiers and fax machines can reduce their annual electricity costs by about 60% and 50% respectively.

Outdoor lighting remains on for long hours, so save money (up to 15%) by using efficient lights (e.g., compact fluorescents) and timer controls or photo.

Tuning up your furnace can save 5% on energy costs, and insulating and repairing leaks in air ducts can save up to 10%.

Heating, Ventilation & Cooling

 FORMCHECKBOX 

Use a programmable thermostat to control heating and air conditioning.

 FORMCHECKBOX 

Use a PG&E installed Smart AC programmable thermostat to control heating and air conditioning (see www.pge.com/mybusiness/energysavingsrebates/demandresponse/sac/).  
 FORMCHECKBOX 

Use economizers on A/C to increase air circulation.

 FORMCHECKBOX 

Supplement AC systems with evaporative coolers on condensers.

 FORMCHECKBOX 

Replace single or package A/C unit with one that exceeds Title 24 building standards.

 FORMCHECKBOX 

Use CO2 occupancy sensors to control air conditioning and heat. 

 FORMCHECKBOX 

Provide shade for HVAC condenser, especially roof-top units.

 FORMCHECKBOX 

Shade sun-exposed windows and walls: use awnings, sunscreens, shade trees or shrubbery.

 FORMCHECKBOX 
   Apply window film to reduce solar heat gain    on clear, single-pane non-Northern facing windows. Refer to your energy provider for specifications and rebates.
 FORMCHECKBOX 

Use energy-efficient double paned windows on at least 90% of windows.

 FORMCHECKBOX 

Other:      
Motors & Pumps

 FORMCHECKBOX 

Use an outside air intake (cool air takes less energy to compress).

 FORMCHECKBOX 

Use engineered nozzles and fittings to reduce “waste” compressed air.

 FORMCHECKBOX 

Control compressor system to ensure operation only during working hours.

 FORMCHECKBOX 

Install Variable Frequency Drives on pumps 


or motors for air handlers, pools and chillers. 

 FORMCHECKBOX 

Downsize oversized motors or replace a large motor with several small motors that can be run individually to meet smaller tasks (about 30% of motors operate at less than 50% of full load).

 FORMCHECKBOX 

Purchase a more efficient motor instead of rewinding an older one.
 FORMCHECKBOX 

Other:      


PG&E’s ClimateSmart program helps offset your greenhouse gas emissions through environmental conservation, restoration and protection projects. For more details, visit www.joinclimatesmart.com.
OPERATIONAL PRACTICES:

General

 FORMCHECKBOX 

Institute a written policy that all electronic devices and lighting be turned off when not in use and use light swtch reminders to remind staff to turn off lights when not in use.

 FORMCHECKBOX 

Rearrange workspace to take advantage of areas with natural light and design for increased natural lighting when remodeling.

 FORMCHECKBOX 

Other:      
Lighting

 FORMCHECKBOX 

Clean lighting fixtures, diffusers and lamps twice a year so they are lighting as effectively as possible (dirt can reduce lighting efficiency by up to 50%). 

 FORMCHECKBOX 

Properly set and maintain lighting control devices (current time and on/off schedule) such as time clocks, photocells and sensors and adjust for season.

 FORMCHECKBOX 

Use task lighting instead of lighting the entire area.

 FORMCHECKBOX 

Other:      
Heating, Ventilation & Cooling

 FORMCHECKBOX 

Set thermostat to 78° F for cooling, 68° F for heating and use the thermostat’s night setback.

 FORMCHECKBOX 

Seal off unused areas. Block and insulate unneeded windows and other openings.

 FORMCHECKBOX 

Other:      
Water Conservation


   Measures
1. Save water in these REQUIRED ways.

 FORMCHECKBOX 

Assign a person to monitor each water bill for sudden rises in water use. Call your water company should this happen.  You can also ask for ways to save water.
 FORMCHECKBOX 

Regularly check for and repair all leaks in your facility. Leaks in toilet tanks can be detected with leak detecting tablets, which may be available from your water company.
 FORMCHECKBOX 

Install low-flow aerators and showerheads (your water company may offer these for free):
· As low as 0.5 gpm and no greater than 
2.5 gpm for lavatory sinks

· 2.0 gpm or less for kitchen sinks

· 2.0 gpm or less for showerheads

 FORMCHECKBOX 

Use signs in restrooms to encourage water conservation and to report leaks.
 FORMCHECKBOX 

Use only dry methods to clean outdoor hard surfaces and post instructions for staff.  Call your water company for any exceptions to this rule.
 FORMCHECKBOX 
  If you have landscaping/irrigation:

· Install matched precipitation rate sprinkler heads in turf areas.

· Test irrigation sprinklers 4 times per year to ensure proper operation and coverage and repair all broken or defective sprinkler heads/nozzles, lines and valves.

· Adjust sprinklers for proper coverage—optimize spacing, avoid runoff onto paved surfaces.

· Water during early morning, pre-dawn hours to reduce water loss from evaporation.

· Use repeat cycles when watering turf or shrubs to encourage percolation and deep root growth.

· Adjust the irrigation schedule monthly during irrigation season, or as needed.

A faucet with a slow leak can waste 10 gallons of water a day, or more!  A single leaky toilet can waste as much as 1,000 gallons of water per day.

2. 
Save water in three other ways, including the first required way. 
Consider areas of greatest water use (facility or landscaping) in choosing new measures.  Be sure to ask your water company about rebates.

Facility:

 FORMCHECKBOX 

REQUIRED:  Install toilets using 1.6 gpf (gallon per flush) or less.

 FORMCHECKBOX 

Go beyond the above 1.6 gpf toilets to 1.3 gpf HETs (High Efficiency Toilets)!  Check both this measure and the above one.  Ask your water district for rebates when replacing 3.5 gpf or higher toilets with the HETs.
 FORMCHECKBOX 

Provide additional urinals in men’s restroom and reduce number of toilets (urinals use less water than toilets). 

 FORMCHECKBOX 

Replace flush mechanism in urinals with ones that flush at 1.0 gallon or less (as low as 0.125 gpf) or install new waterless types.

 FORMCHECKBOX 

Install self-closing faucets (0.5 gpm and 0.25 gallon/cycle).

 FORMCHECKBOX 

Set up an annual program to educate staff about the benefits of efficient water use.

 FORMCHECKBOX 

Schedule your water company to make a presentation to staff to encourage water conservation at home. (Some water companies offer training and “take home” conservation kits.)

 FORMCHECKBOX 

Indoors, use dry floor cleaning methods, followed by damp mopping, rather than spraying or hosing with water.

 FORMCHECKBOX 

Change window cleaning schedule from “periodic” to “as required.”

 FORMCHECKBOX 

Reduce water pressure to no higher than 
50 psi by installing pressure reducing valves.

 FORMCHECKBOX 

Adjust boiler and cooling tower blowdown rate to maintain TDS (total dissolved solids) at levels recommended by manufactures’ specifications.

 FORMCHECKBOX 

Replace water-cooled equipment, such as air conditioning units, with air-cooled.

 FORMCHECKBOX 

Other:      
Landscaping:

 FORMCHECKBOX 

Mulch all non-turf areas.

 FORMCHECKBOX 

Plant drought tolerant plants (assistance is available from your water company).

 FORMCHECKBOX 

Hydrozone: Group plants with similar water requirements together on the same irrigation line, separating plants with different water requirements on separate irrigation lines.

 FORMCHECKBOX 

Reduce area of turf.

 FORMCHECKBOX 

If installing new turf, limit area and use drought tolerant species, space sprinkler heads such that the water from one sprinkler head reaches the adjacent sprinkler heads.

 FORMCHECKBOX 

Modify your existing irrigation system to include drip irrigation.

 FORMCHECKBOX 

Install rain shut-off devices that turn off the irrigation system during rain.

 FORMCHECKBOX 

Install irrigation controllers that have at a minimum the following features: precise 
1-minute runtime capability; a minimum of 
3 separate programs; and 3 cycle start time features.


 FORMCHECKBOX 

Reduce irrigation system water pressure to no higher than 50 psi ( pressure-reducing valves must be installed to do this).

 FORMCHECKBOX 

Use reclaimed water for irrigation and other approved uses.

 FORMCHECKBOX 

Install a self-adjusting weather-based irrigation controller that automatically tailors watering schedules to match local weather, plant types, and other site-specific conditions. Controller must be certified under the Irrigation Association’s SWAT protocol.

 FORMCHECKBOX 

Work with your water company to develop a site-specific “water budget”. Track your water use to ensure efficient watering.

 FORMCHECKBOX 

Other:      
Pollution Prevention


   Measures
1. Assess your office annually to identify ways to prevent pollution. 

· Check Material Safety Data Sheets (MSDS) and labels for all cleaning products, building maintenance materials, pesticides, and fertilizers you use. Identify safer alternatives. Avoid products with labels containing Prop. 65 warnings.

· Dispose of any hazardous waste at your local Household Hazardous Waste Program.

2. Prevent pollution in and around the office in 7 ways, including the required measures.   

Storage, cleaning closets and workshop areas:

 FORMCHECKBOX 

Store any potentially hazardous materials securely, control access and rotate stock to use oldest material first.
 FORMCHECKBOX 

Store deliveries and supplies under a roof. 

 FORMCHECKBOX 

Locate all potential pollutants away from food storage areas as well as sewer and storm drains.

 FORMCHECKBOX 

Provide containment for large amounts of liquid supplies such as cleaners and paints.

 FORMCHECKBOX 

Routinely check for and address leaks, spills and emissions of chemicals, paints, and cleaners. 

 FORMCHECKBOX 

Use pipes or hoses for transferring cleaners or other chemicals to prevent spills and splashes.

Outdoor walkways, parking, and driveways:

 FORMCHECKBOX 

REQUIRED:  Ensure that nothing other than rain enters a storm drain.

 FORMCHECKBOX 

REQUIRED:  Keep dumpsters covered, not overflowing and impermeable to rainwater.  Keep dumpster and parking areas clean.

 FORMCHECKBOX 

REQUIRED:  If using water to clean parking or other outdoor areas, hire a BASMAA- certified mobile cleaner (www.basmaa.org).  Contractor must use equipment that collects wash water and disposes to sanitary sewer.
 FORMCHECKBOX 

REQUIRED:  Do not wash cars, equipment, floor mats or other items outside where run-off water flows straight to the storm drain; this wash water should be directed to a sewer drain. 

 FORMCHECKBOX 

REQUIRED:  Clean private catch basins annually (by October 15th), before the first rain and as needed thereafter.

 FORMCHECKBOX 
  Post signs at targeted trouble spots to explain proper practices to prevent pollutants from reaching storm drains.

Only Rain Down The Drain!
The storm drain system is separate from the sanitary sewer system, and pollutants that enter these drains flow directly into creeks and the bay without treatment. Educate personnel about this difference and the importance of not letting contaminants enter storm drains.

All businesses are required to prevent anything except rainwater from entering storm drains from any of the following activities or sources:

· Loading docks

· Dumpster areas

· Outdoor working areas

· Storage areas

· Landscaping

· Construction

· Cleaning equipment/tools

· Pre-painting

· Power-wash water

· Washing vehicles

· Cleaning parking lots

Monitor subcontractors to ensure their activities are not polluting storm drains. Prevent erosion during all landscape, construction or other activities.

 FORMCHECKBOX 

Clean outdoor surfaces by dry sweeping.

 FORMCHECKBOX 

Mulch, use ground cover, or use a barrier to prevent exposed soil from washing landscaped areas into storm drain.

 FORMCHECKBOX 

Regularly check and maintain storm drain openings and basins. Keep litter, debris and soil away from storm drains.

 FORMCHECKBOX 

Label all storm drains with “No dumping, Drains to Bay” message.

 FORMCHECKBOX 

Other:      
3. Reduce chemicals used in eight ways, including the required measures.

 FORMCHECKBOX 
   REQUIRED:  Reduce chemicals (cleaners, pesticides, paints, etc.) used and stored, disposing of any unneeded products at the local Household Hazardous Waste Program.

 FORMCHECKBOX 
   REQUIRED:  Work with your janitorial or building maintenance staff to use safer alternatives to potentially harmful products.  Require the use of low toxic cleaning products such as those that meet Green Seal certification standards (www.greenseal.org).  List products used:        
 FORMCHECKBOX 

REQUIRED:  Replace all aerosols with pump dispensers, if available.

 FORMCHECKBOX 

REQUIRED:  Use no products with added antibacterial agents, such as triclosan.  This includes products used for hand washing, dishwashing and cleaning.
 FORMCHECKBOX 

Eliminate the routine use of all disinfectants and sanitizers, unless needed to comply with Environmental Health.

 FORMCHECKBOX 

Use one or a few low-toxicity multipurpose cleaners, rather than many special-purpose cleaners.

 FORMCHECKBOX 

Require your janitorial staff to use micro-fiber dusters, towels and mops to trap dust particles.

 FORMCHECKBOX 
  REQUIRED:  Eliminate or reduce pesticides by using Integrated Pest Management (IPM), which includes good housekeeping, acting only when needed, making physical changes to keep pests out, and, lastly, using less or non-toxic pesticides.  Implement all applicable measures:  

· Keep kitchen, waste storage and other areas clean to prevent pest problems. 

· When pest control is necessary, use barriers (such as caulking/sealing holes), traps and lastly, less toxic pesticides (such as soaps, oils, microbials and baits). Apply only as needed (rather than on a routine schedule). 

· If you contract with a pest control operator, choose one that is EcoWise Certified (www.ecowisecertified.com), or specify in the contract that IPM and methods using non-chemical pest prevention and pest exclusion be used.  Do not allow any outdoor perimeter spraying.

 FORMCHECKBOX 

Do business with other “green” vendors or services, such as certified Bay Area Green Businesses (listings at www.greenbiz.ca.gov). List examples:      
 FORMCHECKBOX 

Purchase organically or locally grown foods and beverages for the office kitchen. List examples:      
 FORMCHECKBOX 

Use low- or no-VOC paint products. 
 FORMCHECKBOX 

Use natural or low emissions building materials, carpets or furniture.

 FORMCHECKBOX 

Replace standard fluorescent lights with low or no mercury fluorescent lights.  Approved models are Phillips F17T8/AD850/AltoII and Sylvania Fo17/850/xp/Eco.

 FORMCHECKBOX 

Obtain a battery recharger for the office. Use rechargeable (instead of disposable) batteries for flashlights, radios, remote controls and other devices that use standard batteries. 
 FORMCHECKBOX 

Use recycled oil for vehicles/equipment. 

 FORMCHECKBOX 

Use unbleached and/or chlorine-free paper products (copy paper, paper towels, napkins, coffee filters, etc.).

 FORMCHECKBOX 

Print promotional materials with vegetable or other low-VOC inks.

 FORMCHECKBOX 

Other:      
4. Recycle/reuse 3 of the following potential pollutants.
 FORMCHECKBOX 
  REQUIRED:  Properly store and recycle Universal Wastes as required by law.  Designate a storage area for spent Universal Wastes, posting a sign and notifying employees of this area.  Ensure that these are recycled (and not put into the garbage).  Universal Wastes are:

· Spent fluorescent light tubes & bulbs

· Electronic equipment (computers, cell phones, pagers, etc.)

· Batteries (RBRC recycles these for free!  www.rbrc.org)

 FORMCHECKBOX 

Excess paint/solvents (keep only what is needed for touch-ups, then take remainder to hazardous waste collection program, donate to anti-graffiti program, or return to contractor or manufacturer). 

 FORMCHECKBOX 

Used copier toner cartridges 

 FORMCHECKBOX 

Used ink jet cartridges

 FORMCHECKBOX 

Car fluids from company vehicles.

 FORMCHECKBOX 

Donate for reuse (not just recycle) electronic equipment. If they cannot be reused, take them to an "e-steward" for responsible recycling ( www.ban.org/#ThePledge). 

 FORMCHECKBOX 
   Other:      
5.   Reduce vehicle emissions in 3 ways:

 FORMCHECKBOX 

REQUIRED: Join the Air District’s “Spare the Air” program (www.sparetheair.org) and notify staff of “Spare the Air” days.

 FORMCHECKBOX 

When possible, arrange for a single vendor who makes deliveries for several items.

 FORMCHECKBOX 

Patronize services close to your business (e.g., food/catering, copy center, etc.) and encourage employees to do the same.

 FORMCHECKBOX 

Use route optimization software or have documented delivery plans.

 FORMCHECKBOX 

Other:      
SPARE THE AIR PROGRAM

Spare the Air Days are called when air quality is expected to be unhealthy. Participating businesses receive Spare the Air Day email alerts and free information on ways to improve air quality. Join by visiting the Bay Area Air Quality Mgmt. District’s website at www.SparetheAir.org. Click “subscribe to AirAlert email notices” on the right pane.
Commute Alternatives

 FORMCHECKBOX 

Hire locally.
 FORMCHECKBOX 

Offer telecommuting opportunities and/or flexible schedules.

 FORMCHECKBOX 

Offer employees pre-tax commuter benefits for transit, vanpool or biking costs.  See www.rideshare.511.org/rideshare_rewards/.

 FORMCHECKBOX 

Encourage employees to rideshare by posting commuter ride sign-up sheets and providing other commuter incentive programs (e.g., rideshare incentive programs, or a guaranteed ride home in emergency situations; see www.rideshare.511.com).
 FORMCHECKBOX 

Set aside car/van pool parking spaces.

 FORMCHECKBOX 

Encourage employees and customers to bike and use public transit by posting bicycle ride maps and transit schedules/maps (see www.511.org).
 FORMCHECKBOX 

Offer lockers and showers for staff who walk, jog or bicycled to work. 

 FORMCHECKBOX 

Offer secure bicycle storage for staff and customers.

 FORMCHECKBOX 

Encourage bicycling to work by offering rebates on bicycles bought for commuting.

 FORMCHECKBOX 

Provide commuter van.

 FORMCHECKBOX 

Offer a shuttle service to and from bus, train and/or light rail stops.

 FORMCHECKBOX 
   Other:      
PRE-TAX COMMUTER BENEFITS

Share the savings on these benefits! Employers save as much as 7.65% on payroll taxes per participating employee. See www.rideshare.511.org/rideshare_rewards/ for information on this and all alternative transit programs, go to.
Other Greenhouse Gas Emissions

 FORMCHECKBOX 

Complete a CO2 or eco-footprint calculator to determine your own greenhouse gas emissions.
 FORMCHECKBOX 

Convert company vehicles to low emission vehicles (electric, hybrid, natural gas or alternative fuels).

 FORMCHECKBOX 

Offer electric vehicle recharge ports for visitors and staff using electric vehicles.

 FORMCHECKBOX 

Use biodiesel (100% or blends) or vegetable diesel in place of petrodiesel in vehicles.
 FORMCHECKBOX 

Install renewable energy sources, such as solar panels or wind generators.  


System Size:      
 FORMCHECKBOX 

Buy renewable energy credits or green tags to offset the GHG emissions from your business’s travel and use of energy (see www.green-e.org, liveneutral.org and terrapass.org).

 FORMCHECKBOX 

Offset your company’s emissions by participating in PG&E’s Climate Smart Program (www.joinclimatesmart.com).

 FORMCHECKBOX 

Other:      




































June 1, 2009     Office      Business                                                                                                 4

